Compressor
Return Line
100 dpi
1
2
3
4
Indoor
Coil
XV
XV
Outdoor Coil
(Condenser)
Economizer
Return Line
Outdoor
Unit

---
Pump
Compressor
Return Line
100 dpi
1
2
3
4
Supply Line
XV
Outdoor Coil
(Condenser)
Indoor Coil
Internal
HX
100 dpi
Compressor
1
2
Suction Line
Liquid Line
3
4
Outdoor Coil
(Condenser)
Indoor Coil
(Evaporator)
XV
Outdoor
Outdoor

---
Pump
Compressor
Supply Line
100 dpi
2
1
4
3
Return Line
XV
Outdoor Coil
(Evaporator)
Indoor Coil
Internal
HX
100 dpi
Compressor
2
1
Discharge Line
Liquid Line
4
3
Outdoor Coil (Evaporator)
Indoor Coil (Condenser)
XV
Outdoor
Outdoor

---
Pump
Fixed for given coil inlet temp
75 F
50% RH
95 F
50% RH
Fixed from loop energy balance
Ts/x free parameter
Fixed

---
dot W_p
dot W_c
Residual
dot m_{r},T_{d}
Comp
dot m_{g}
T_{r,i},p_{r,i}
T_{g,o}, p_{g,o}
T_{ss},T_{sd},%DELTA T_{sh}
3 TR + dot W_p
3 TR
dot V_{a},%phi_{a},T_{a},p_a
dot V_{a},%phi_{a},T_{a},p_a
Residual
(ΔT)
T_{g,i}, p_{g,i}
T_{r,i},x_{r,i}
T_{r,o},p_{r,o},h_{r,o}
Secondary
Cycle
Refrigerant
Cycle

---
Return (Suction)
75 dpi
Line-length (one-way)
Supply (Liquid-Line)
Indoor Coil
Condensing

---
dot {m} [lbm/h] = M_{1}+M_{2}T_s+M_{3}T_{d}+M_{4}T_{s}^2+M_{5}T_{s}T_d+M_{6}T_{d}^2+M_{7}T_{s}^3+M_{8}T_{d}T_{s}^2+M_{9}T_{d}^{2}T_{s}+M_{10}T_{d}^3 newline Power [W] = P_{1}+P_{2}T_s+P_{3}T_{d}+P_{4}T_{s}^2+P_{5}T_{s}T_d+P_{6}T_{d}^2+P_{7}T_{s}^3+P_{8}T_{d}T_{s}^2+P_{9}T_{d}^{2}T_{s}+P_{10}T_{d}^3

---
Annulus OD
Tube ID
Annulus ID
16.26"
10.13"
8.66"